## Site List
SARS RFP 65-2018 : ICT Facilities Services Annexure B: ICT Facilities Site List & Equipment Quantities per Category
[9 empty] | UPS | Aircon |  |  |  | Fire Control |  |  | Environment | Access Control |  | Generators | Electrical Distribution (base on room size)
Site Name | Province | Type | Nearest Main Centre | Maint Type | Bus Hrs/ Aft Hrs | Support Lvl | Coverage | Street address | UPS | AC (Window/ Split/ Casette/ Hideaway/ Under ceiling) | AC Down-blower | AC Chiller | AC Chiller Pump | Fire Control System | Fire Gas System | Fire Extinguishers | Env Monitoring | Access Biometric or Card | Access Lock & Key | Generators | DC Small & Patch Room | DC Med Server Room | DC Large Server Room
Alberton | Gauteng | Revenue | Johannesburg | Ess | Bus Hrs | Silver | Premium | 49 New Quay Road New Redruth | 2 | 5 | 0 | 0 | 0 | 2 | 1 | 4 | 1 | 2 | 0 | 0 | 1 | 1 | 0
Alberton Campus | Gauteng | Revenue | Johannesburg | Enh | Aft Hrs | Silver | Premium | Stand portion 234 Elandsfontein New Redruth Avenue | 2 | 24 | 4 | 0 | 0 | 2 | 2 | 24 | 6 | 12 | 0 | 2 | 10 | 0 | 2
Benoni | Gauteng | Revenue | Johannesburg | Ess | Bus Hrs | Bronze | Standard | 65 Howard Avenue | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 6 | 1 | 3 | 0 | 0 | 3 | 0 | 0
Boksburg | Gauteng | Revenue | Johannesburg | Ess | Bus Hrs | Bronze | Standard | Cnr. Leeupoort and Short Streets | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 6 | 1 | 3 | 0 | 0 | 3 | 0 | 0
Brooklyn Bridge - Hilton House | Gauteng | Admin | Pretoria | Enh | Aft Hrs | Bronze | Standard | Fehrsen Street 570, Nieuw Muckleneuk | 1 | 7 | 0 | 0 | 0 | 0 | 0 | 6 | 1 | 3 | 0 | 0 | 3 | 0 | 0
Brooklyn Bridge - Linton House | Gauteng | Admin | Pretoria | Enh | Aft Hrs | Bronze | Standard | Fehrsen Street 570, Nieuw Muckleneuk | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 6 | 1 | 3 | 0 | 0 | 3 | 0 | 0
Doringkloof Contact Centre | Gauteng | Revenue | Pretoria | Enh | Aft Hrs | Silver | Extended | 7 Protea Street Doringkloof | 4 | 21 | 4 | 0 | 0 | 1 | 1 | 18 | 8 | 9 | 0 | 0 | 8 | 0 | 1
Edenvale | Gauteng | Revenue | Johannesburg | Ess | Bus Hrs | Silver | Premium | 86 van Riebeek Ave | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0
Stephens House | Gauteng | Revenue | Pretoria | Enh | Aft Hrs | Silver | Extended | Fehrsen Street 570, Nieuw Muckleneuk | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Joburg - Megawatt Park | Gauteng | Revenue | Johannesburg | Enh | Aft Hrs | Silver | Premium | Maxwell Drive Sunninghill | 2 | 14 | 0 | 0 | 0 | 1 | 1 | 20 | 1 | 10 | 0 | 0 | 9 | 0 | 1
Joburg - Rissik Street | Gauteng | Revenue | Johannesburg | Ess | Bus Hrs | Silver | Premium | 4 Rissik Street | 3 | 2 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 1 | 0 | 0 | 1 | 1 | 0
Khanyisa | Gauteng | Admin | Pretoria | Ess | Bus Hrs | Bronze | Standard | 281 Middel Street Nieuw Muckleneuk | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 12 | 1 | 6 | 0 | 0 | 6 | 0 | 0
Krugersdorp | Gauteng | Revenue | Johannesburg | Ess | Bus Hrs | Bronze | Standard | 40 Kobie Krige Street | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 3 | 0 | 0 | 2 | 1 | 0
Landbank Building | Gauteng | Admin | Pretoria | Ess | Bus Hrs | Bronze | Standard | 271 Veal Steet Brooklyn | 1 | 3 | 0 | 0 | 0 | 1 | 0 | 12 | 0 | 2 | 0 | 0 | 2 | 0 | 0
Lanseria | Gauteng | Airport | Johannesburg | Ess | Bus Hrs | Bronze | Standard | Lanseria Airport Building | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 1 | 1 | 0 | 2 | 0 | 0
Lehae la SARS | Gauteng | Admin | Pretoria | Enh | Aft Hrs | Gold | Premium | 299 Bronkhorst Street Nieuw Muckleneuk | 14 | 55 | 43 | 2 | 3 | 1 | 4 | 80 | 11 | 40 | 0 | 2 | 38 | 0 | 2
Nigel | Gauteng | Revenue | Johannesburg | Ess | Bus Hrs | Bronze | Standard | Cnr Hendrik Verwoerd and 4th Avenue | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 2 | 0 | 0 | 2 | 0 | 0
OR Thambo International - Arrivals | Gauteng | Airport | Johannesburg | Enh | Aft Hrs | Gold | Premium | OR Thambo Int. Airport Arrivals and Terminal Building Kempton Park | 10 | 22 | 0 | 0 | 0 | 1 | 0 | 24 | 1 | 12 | 0 | 0 | 11 | 0 | 1
OR Thambo International - Mail Centre | Gauteng | Airport | Johannesburg | Ess | Bus Hrs | Gold | Premium | OR Thambo Int. Airport Mail Centre Kempton Park | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
OR Thambo International - New Agents Building | Gauteng | Airport | Johannesburg | Ess | Bus Hrs | Gold | Premium | OR Thambo Int. Airport New Agents Building Kempton Park | 1 | 3 | 0 | 0 | 0 | 1 | 0 | 12 | 1 | 6 | 0 | 0 | 6 | 0 | 0
Pavillion | Gauteng | Admin | Pretoria | Ess | Bus Hrs | Bronze | Standard | 266 Bronkhorst Street Nieuw Muckleneuk | 1 | 3 | 3 | 0 | 0 | 1 | 0 | 2 | 1 | 7 | 0 | 0 | 6 | 1 | 0
Pretoria North | Gauteng | Revenue | Pretoria | Ess | Bus Hrs | Bronze | Standard | C/o Rachel de Beer and Burger Street, Pretoria North, North Park Mall | 2 | 4 | 0 | 0 | 0 | 1 | 1 | 2 | 1 | 2 | 0 | 0 | 2 | 0 | 0
Pretoria - Ashlea Gardens | Gauteng | Revenue | Pretoria | Ess | Bus Hrs | Silver | Premium | 31 Lebombo Road | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 2 | 0 | 0 | 1 | 1 | 0
Pretoria - Customs House | Gauteng | Customs | Pretoria | Ess | Bus Hrs | Bronze | Standard | 136 Schoeman Street | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 1 | 0 | 1 | 0 | 0
Pretoria - Riverwalk Office Park | Gauteng | Revenue | Pretoria | Enh | Bus Hrs | Bronze | Standard | Block A 41 Matroosberg Road Ashley Gardens X6 | 1 | 16 | 4 | 0 | 0 | 1 | 0 | 10 | 1 | 5 | 0 | 0 | 4 | 1 | 0
Randburg | Gauteng | Revenue | Johannesburg | Enh | Aft Hrs | Bronze | Standard | 25 Hill Street | 2 | 4 | 0 | 0 | 0 | 1 | 0 | 14 | 1 | 7 | 0 | 0 | 6 | 1 | 0
Randfontein | Gauteng | Revenue | Johannesburg | Ess | Bus Hrs | Bronze | Standard | 39 Stubbs Street | 2 | 3 | 0 | 0 | 0 | 1 | 0 | 6 | 2 | 3 | 0 | 0 | 3 | 0 | 0
Roodepoort | Gauteng | Revenue | Johannesburg | Ess | Bus Hrs | Bronze | Standard | Horison View Shopping Centre | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 4 | 1 | 2 | 0 | 0 | 1 | 1 | 0
Soweto Dube | Gauteng | Revenue | Johannesburg | Ess | Bus Hrs | Bronze | Standard | Ekhaya Centre 2223 Ncube Drive, Dube Village | 2 | 2 | 0 | 0 | 0 | 1 | 1 | 4 | 1 | 2 | 0 | 0 | 2 | 0 | 0
Soweto Bara | Gauteng | Revenue | Johannesburg | Ess | Bus Hrs | Bronze | Standard | Cnr Dino drive and Chris Hani Road | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 4 | 1 | 2 | 0 | 0 | 2 | 0 | 0
Standerton | Gauteng | Revenue | Johannesburg | Ess | Bus Hrs | Bronze | Standard | 29 Church Street Cnr. Church and Princess Streets | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 6 | 1 | 3 | 0 | 0 | 3 | 0 | 0
Vereeniging | Gauteng | Revenue | Johannesburg | Ess | Bus Hrs | Bronze | Standard | 19 Merriman Avenue Cnr. Joubert and Merriman Avenue | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 12 | 5 | 6 | 0 | 0 | 6 | 0 | 0
Walker Creek | Gauteng | Admin | Pretoria | Enh | Aft Hrs | Silver | Extended | 90 Queen Wilhelmina Street, Nieuw Muckleneuk, Pretoria, | 3 | 16 | 4 | 0 | 0 | 1 | 1 | 14 | 1 | 7 | 0 | 0 | 6 | 0 | 1
Wang Tai | Gauteng | Admin | Pretoria | Enh | Aft Hrs | Bronze | Standard | 281 Middle Street, Nieuw Muckleneuk, Brooklyn | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Waterkloof Airforce Base | Gauteng | Airport | Pretoria | Ess | Bus Hrs | Bronze | Standard | 380 Raasblaar Avenue | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 2 | 0 | 0 | 2 | 0 | 0
Alexander Bay | Northern Cape | Border | Upington | Ess | Bus Hrs | Bronze | Standard | Alexander Bay Customs Building | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Beaufort West | Western Cape | Revenue | Capetown | Ess | Bus Hrs | Bronze | Standard | Church Street | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 0 | 1 | 0 | 1 | 0 | 0
Bellville Ptach rooms part of building | Western Cape | Contact Centre | Capetown | Enh | Aft Hrs | Silver | Premium | Cnr.Teddington and De Lange Road | 2 | 5 | 0 | 0 | 0 | 2 | 2 | 12 | 2 | 6 | 0 | 0 | 5 | 0 | 1
Cape Mail | Western Cape | Revenue | Capetown | Ess | Bus Hrs | Bronze | Standard | Cnr. Showground and Mail Avenue Epping | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cape Town - Lower Long Street | Western Cape | Revenue | Capetown | Ess | Bus Hrs | Bronze | Standard | 17 Lower Long Street | 1 | 4 | 0 | 0 | 0 | 1 | 1 | 6 | 1 | 3 | 0 | 0 | 2 | 0 | 1
Cape Town - Plein Street | Western Cape | Revenue | Capetown | Enh | Aft Hrs | Gold | Premium | Cape Town - Plein Street | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 1 | 0 | 1 | 0 | 0
Cape Town Scanner | Western Cape | Revenue | Capetown | Enh | Aft Hrs | Gold | Premium | CTN Harbour | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 0 | 1 | 0 | 1 | 0 | 0
Cape Town Cowrie Place | Western Cape | Revenue | Capetown | Enh | Aft Hrs | Gold | Premium | CTN Harbour | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 0 | 1 | 0 | 1 | 0 | 0
Cape Town - Project 166 | Western Cape | Revenue | Capetown | Enh | Aft Hrs | Silver | Premium | 22 Hans Strydom Drive | 1 | 5 | 0 | 0 | 0 | 1 | 2 | 38 | 1 | 0 | 19 | 0 | 18 | 0 | 1
Cape Town International - Airfreight | Western Cape | Airport | Capetown | Enh | Aft Hrs | Gold | Premium | Cape Town International Airport Airfreight Building | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 8 | 3 | 3 | 1 | 0 | 4 | 0 | 0
George | Western Cape | Revenue | George | Enh | Aft Hrs | Silver | Extended |  | 2 | 4 | 0 | 0 | 0 | 1 | 2 | 4 | 1 | 2 | 0 | 0 | 2 | 0 | 0
Kimberley - Bean and Crossman | Northern Cape | Revenue | Kimberley | Enh | Aft Hrs | Bronze | Standard | 10 Bean Street | 2 | 2 | 0 | 0 | 0 | 1 | 1 | 6 | 2 | 3 | 0 | 0 | 2 | 1 | 0
McCarthy's Rest | Northern Cape | Border | Upington | Ess | Bus Hrs | Bronze | Standard | 26°12'10.04"S 22°34'7.36"E | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 0 | 1 | 0 | 1 | 0 | 0
Mossel Bay | Western Cape | Customs | George | Ess | Bus Hrs | Bronze | Standard | Customs Building, 67 Bland Street | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 1 | 0 | 0
Nakop | Northern Cape | Border | Upington | Ess | Bus Hrs | Bronze | Standard | Nakop Border Post | 2 | 4 | 0 | 0 | 0 | 2 | 0 | 2 | 2 | 0 | 1 | 0 | 1 | 0 | 0
Oudtshoorn | Western Cape | Customs | Capetown | Ess | Bus Hrs | Bronze | Standard | Allied Building, 107 Church Street | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0
Paarl | Western Cape | Revenue | Capetown | Ess | Bus Hrs | Bronze | Standard | Roba Building 19 Market Street | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 6 | 1 | 0 | 3 | 0 | 2 | 1 | 0
Parliament Building | Western Cape | Admin | Capetown | Enh | Aft Hrs | Silver | Premium | 120 Plein Street Parliament | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 1 | 0 | 0
Robertson | Western Cape | Customs | Capetown | Ess | Bus Hrs | Bronze | Standard | 48 Church Street | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 0 | 1 | 0 | 1 | 0 | 0
Saldanha Bay | Western Cape | Harbour | Capetown | Ess | Bus Hrs | Bronze | Standard | Iron Ore Harbour | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0
Stellenbosch | Western Cape | Customs | Capetown | Ess | Bus Hrs | Bronze | Standard | Valederie Centre Cnr. Piet Retief and School Streets | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 0 | 1 | 0 | 1 | 0 | 0
Twee Rivieren | Northern Cape | Border | Upington | Ess | Bus Hrs | Bronze | Standard | 26°28'31.87"S 20°36'49.86"E | 3 | 2 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0
Upington Customs | Northern Cape | Customs & Revenue | Upington | Ess | Bus Hrs | Bronze | Standard | Dakota Road | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 0 | 1 | 0 | 1 | 0 | 0
Upington Anchorley | Northern Cape | Revenue | Upington | Ess | Bus Hrs | Bronze | Standard | Scott Street | 2 | 3 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 1 | 1 | 0 | 2 | 0 | 0
Vioolsdrift | Northern Cape | Border | Upington | Ess | Bus Hrs | Bronze | Standard | Border Post | 3 | 3 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0
Worcester | Western Cape | Revenue | Capetown | Ess | Bus Hrs | Bronze | Standard | Hugo Naude Building 59 Church Street | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 6 | 1 | 3 | 0 | 0 | 2 | 1 | 0
Bethlehem | Free State | Revenue | Bloemfontein | Ess | Bus Hrs | Bronze | Standard | Maluti Square 32 Church Street, cnr Cambridge and Church Street | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 2 | 0 | 0 | 1 | 1 | 0
Bloemfontein Central Gov | Free State | Customs & Revenue | Bloemfontein | Enh | Aft Hrs | Bronze | Standard | Cnr.Nelson Mandela and Aliwal Streets | 1 | 2 | 0 | 0 | 0 | 1 | 1 | 2 | 1 | 1 | 1 | 0 | 2 | 0 | 0
Bloemfontein International | Free State | Airport | Bloemfontein | Ess | Bus Hrs | Silver | Premium | Musselspoort Road Bloemfontein International Airport | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0
Bloemfontein Zastron | Free State | ROR | Bloemfontein | Ess | Bus Hrs | Silver | Premium | 88 Zastron str, Bloemfontein | 3 | 4 | 0 | 0 | 0 | 1 | 0 | 6 | 2 | 3 | 0 | 0 | 1 | 0 | 0
Caledonspoort | Free State | Border | Bloemfontein | Ess | Bus Hrs | Bronze | Premium | Border Post | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 0 | 1 | 0 | 0 | 1 | 0
Derdepoort | North West | Border | Rustenburg | Ess | Bus Hrs | Bronze | Standard | 24°38'41.82"S 26°24'20.74"E | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0
Ficksburg Bridge | Free State | Border | Bloemfontein | Ess | Bus Hrs | Bronze | Premium | Border Post | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0
Klerksdorp | North West | Revenue | Klerksdorp | Enh | Aft Hrs | Silver | Premium | 39 Leask Street | 3 | 6 | 0 | 0 | 0 | 1 | 1 | 6 | 1 | 3 | 0 | 0 | 2 | 1 | 0
Kopfontein | North West | Border | Mafikeng | Ess | Bus Hrs | Bronze | Premium | Border Post | 4 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0
Kroonstad | Free State | Revenue | Klerksdorp | Ess | Bus Hrs | Bronze | Premium | 54 Hill Street | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 1 | 1 | 0 | 2 | 0 | 0
Ladybrand DDU | Free State | Customs | Bloemfontein | Ess | Bus Hrs | Bronze | Standard | 27 | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Maseru Bridge | Free State | Border | Bloemfontein | Ess | Bus Hrs | Bronze | Premium | Border Post | 6 | 4 | 0 | 0 | 0 | 1 | 0 | 2 | 2 | 2 | 0 | 0 | 1 | 0 | 0
Mmabatho | North West | Revenue | Mafikeng | Ess | Bus Hrs | Silver | Extended | Mmabatho | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Peka Bridge Border Post | Free State | Border | Bloemfontein | Ess | Bus Hrs | Bronze | Standard | 28°56'38.04"S 27°44'2.40"E | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 0 | 1 | 0 | 1 | 0 | 0
Pilanesberg International | North West | Airport | Rustenburg | Ess | Bus Hrs | Bronze | Standard | Pilanesberg International Airport | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Ramatlabama | North West | Border | Mafikeng | Ess | Bus Hrs | Bronze | Premium | Border Post | 5 | 2 | 0 | 0 | 0 | 1 | 0 | 8 | 1 | 1 | 0 | 0 | 4 | 0 | 0
Rustenburg | North West | Revenue | Rustenburg | Ess | Bus Hrs | Silver | Extended | 39 Heystek Street | 2 | 3 | 0 | 0 | 0 | 1 | 1 | 6 | 1 | 3 | 0 | 0 | 3 | 0 | 0
Skilpadshek | North West | Border | Mafikeng | Ess | Bus Hrs | Bronze | Premium | Border Post | 4 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Swartkopfontein | North West | Border | Klerksdorp | Ess | Bus Hrs | Bronze | Standard | 24°52'0.00"S 25°58'0.00"E | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0
Van Rooyenshek | Free State | Border | Bloemfontein | Ess | Bus Hrs | Bronze | Premium | Border Post | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Welkom | Free State | Revenue | Klerksdorp | Ess | Bus Hrs | Bronze | Standard | c/o Graaff and Tulbagh Streets | 2 | 4 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Zeerust | North West | Revenue | Mafikeng | Ess | Bus Hrs | Bronze | Standard | Church Street Shalimar Park Ext 2 | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 0 | 1 | 0 | 0 | 1 | 0
Durban - Albany House | Kwazulu Natal | Revenue | Durban | Enh | Aft Hrs | Silver | Extended | Customs and Excise 61-62 Victoria Embankment | 1 | 4 | 0 | 0 | 0 | 1 | 1 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0
Durban - Customs House | Kwazulu Natal | Customs | Durban | Ess | Bus Hrs | Bronze | Standard | Victoria Embankment | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Durban - New Pier | Kwazulu Natal | Harbour | Durban | Ess | Bus Hrs | Bronze | Standard | New Pier - Durban Harbour | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 10 | 1 | 5 | 0 | 0 | 5 | 0 | 0
Durmail | Kwazulu Natal | Customs | Durban | Ess | Bus Hrs | Bronze | Standard | South African Post Office, 95 Masbalala Yengwa Avenue | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Durban Scanner | [7 empty] | DBN Container Terminal, New Pier Two, Durban Harbour | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
East London - Waverly Building | Eastern Cape | Customs & Revenue | East London | Enh | Aft Hrs | Silver | Extended | 3236 Phillip Frame Road, Chiselhurst, | 2 | 4 | 0 | 0 | 0 | 1 | 1 | 4 | 1 | 2 | 0 | 0 | 1 | 1 | 0
Golela | Kwazulu Natal | Border | Durban | Ess | Bus Hrs | Bronze | Premium | Border Post | 2 | 4 | 0 | 0 | 0 | 2 | 0 | 4 | 2 | 2 | 0 | 0 | 1 | 1 | 0
King Shaka Airport | Kwazulu Natal | Airport | Durban | Enh | Aft Hrs | Gold | Premium | The Farm La Mercy Airport No 15124 1270 Coins Temp Road Canelands (NW) | 6 | 2 | 0 | 0 | 0 | 1 | 1 | 10 | 1 | 5 | 0 | 0 | 4 | 1 | 0
Kosi Bay | Kwazulu Natal | Border | Durban | Ess | Bus Hrs | Bronze | Standard | 26°51'51.52"S 32°49'45.23"E | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Pietermaritzburg | Kwazulu Natal | Revenue | Durban | Ess | Bus Hrs | Bronze | Standard | 209 Pietermaritz Street | 2 | 4 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 2 | 0 | 0 | 1 | 1 | 0
Pinetown | Kwazulu Natal | Revenue | Durban | Ess | Bus Hrs | Bronze | Standard | 36 Kings Road | 2 | 2 | 0 | 0 | 0 | 1 | 1 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Port Elizabeth | Eastern Cape | Harbour | Port Elizabeth | Enh | Aft Hrs | Bronze | Standard | DP165A PE Harbour Street Port Admin Buildingl | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
Port Elizabeth - Sanlam Centre | Eastern Cape | Customs & Revenue | Port Elizabeth | Enh | Aft Hrs | Bronze | Standard | 3 Chapel Street, CBD | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0
Port Elizabeth International | Eastern Cape | Airport | Port Elizabeth | Ess | Bus Hrs | Bronze | Standard | SAA Cargo Section 5th Avenue, Walmer | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Port Shepstone | Kwazulu Natal | Revenue | Durban | Ess | Bus Hrs | Bronze | Standard | 16 Bisset Street | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0
Qacha's Nek | Kwazulu Natal | Border | Durban | Ess | Bus Hrs | Bronze | Premium | Border Post | 3 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0
Richards Bay Customs | Kwazulu Natal | Customs | Durban | Ess | Bus Hrs | Bronze | Standard | 105 Dollar Drive | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Richards Bay - Bayside Mall | Kwazulu Natal | Revenue | Durban | Ess | Bus Hrs | Bronze | Standard | Bayside Mall | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0
Sani Pass | Kwazulu Natal | Border | Durban | Ess | Bus Hrs | Bronze | Standard | 29°36'10.76"S 29°20'21.16"E | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
St Mary's Terrace | Eastern Cape | Revenue | Port Elizabeth | Enh | Aft Hrs | Silver | Premium | St Mary's Terrace Whytes Avenue | 2 | 10 | 0 | 0 | 0 | 8 | 2 | 16 | 1 | 7 | 0 | 0 | 7 | 1 | 0
Trescon House | Kwazulu Natal | Contact Centre | Durban | Enh | Aft Hrs | Silver | Premium | 201 West Street | 7 | 11 | 0 | 0 | 0 | 2 | 2 | 12 | 2 | 6 | 0 | 0 | 6 | 0 | 1
Uitenhage | Eastern Cape | Revenue | Port Elizabeth | Ess | Bus Hrs | Bronze | Standard | 1 Young Street | 2 | 3 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 0 | 1 | 0 | 1 | 0 | 0
Umhlanga | Kwazulu Natal | Revenue | Durban | Ess | Bus Hrs | Bronze | Standard | 32 Founders Road Mount Edgecombe | 2 | 6 | 0 | 0 | 0 | 4 | 2 | 8 | 1 | 4 | 0 | 0 | 3 | 1 | 0
Umtata | Eastern Cape | Revenue | East London | Ess | Bus Hrs | Bronze | Standard | Cnr. Durham and Sutherland Streets | 2 | 4 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 2 | 0 | 0 | 1 | 1 | 0
Beit Bridge | Limpopo | Border | Polokwane | Enh | Aft Hrs | Gold | Premium | Border Post | 6 | 6 | 0 | 0 | 0 | 2 | 0 | 8 | 2 | 4 | 0 | 0 | 3 | 1 | 0
Emahlathini | Mpumalanga | Border | Nelspruit | Ess | Bus Hrs | Bronze | Standard | Border Post | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Giriyondo | Limpopo | Border | Polokwane | Ess | Bus Hrs | Bronze | Standard | 23°35'2.58"S 31°39'35.60"E | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Giyani | Limpopo | Revenue | Polokwane | Ess | Bus Hrs | Bronze | Standard | Justice Building Main Road | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Groblersbrug | Limpopo | Border | Polokwane | Ess | Bus Hrs | Bronze | Premium | Border Post | 3 | 2 | 0 | 0 | 0 | 1 | 1 | 2 | 1 | 1 | 2 | 0 | 1 | 0 | 0
Jeppes Reef | Mpumalanga | Border | Nelspruit | Ess | Bus Hrs | Bronze | Premium | Border Post | 3 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Kruger Mpumalanga International Airport (KMIA) | Mpumalanga | Airport | Nelspruit | Ess | Bus Hrs | Bronze | Standard | Plaston Road White River | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Lebombo | Mpumalanga | Border | Nelspruit | Enh | Aft Hrs | Bronze | Premium | Border Post | 12 | 6 | 0 | 0 | 0 | 2 | 0 | 10 | 2 | 4 | 0 | 0 | 4 | 0 | 0
Lebombo Commercial | Mpumalanga | Customs | Nelspruit | Ess | Bus Hrs | Bronze | Premium | Commercials | 3 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Lebombo DU | Mpumalanga | Customs | Nelspruit | Ess | Bus Hrs | Bronze | Premium | Dog Unit | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0
Lebowakgomo | Limpopo | Revenue | Polokwane | Ess | Bus Hrs | Bronze | Standard | Old Government Building | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 2 | 0 | 1 | 0 | 0
Mahamba | Mpumalanga | Border | Nelspruit | Ess | Bus Hrs | Bronze | Premium | Border Post | 4 | 4 | 0 | 0 | 0 | 2 | 0 | 4 | 2 | 2 | 0 | 0 | 2 | 0 | 0
Mananga | Mpumalanga | Border | Nelspruit | Ess | Bus Hrs | Bronze | Standard | Border Post | 4 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Nelspruit | Mpumalanga | Revenue | Nelspruit | Enh | Bus Hrs | Silver | Premium | 37 Citrus Cresent, Erf 3029, Ext 7, Nelspruit | 3 | 3 | 0 | 0 | 0 | 2 | 1 | 6 | 1 | 3 | 0 | 0 | 2 | 1 | 0
Nerston | Mpumalanga | Border | Nelspruit | Ess | Bus Hrs | Bronze | Standard | Border Post | 3 | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Oshoek | Mpumalanga | Border | Nelspruit | Enh | Aft Hrs | Bronze | Premium | Border Post | 4 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Pafuri | Limpopo | Border | Polokwane | Ess | Bus Hrs | Bronze | Standard | 22°26'55.90"S 31°18'50.47"E | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Polokwane | Limpopo | Revenue | Polokwane | Enh | Aft Hrs | Silver | Premium | 40 Landros Mare Street | 2 | 4 | 0 | 0 | 0 | 1 | 0 | 6 | 1 | 3 | 0 | 0 | 2 | 1 | 0
Polokwane Gateway | Limpopo | Airport | Polokwane | Ess | Bus Hrs | Bronze | Standard | Gateway International Airport | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 4 | 2 | 2 | 0 | 0 | 1 | 1 | 0
Stockpoort | Limpopo | Border | Polokwane | Ess | Bus Hrs | Bronze | Standard | 23°24'0.31"S 27°21'16.94"E | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 0 | 1 | 0 | 1 | 0 | 0
Thohoyandou | Limpopo | Revenue | Polokwane | Ess | Bus Hrs | Bronze | Standard | 756 Main Street | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Witbank | Mpumalanga | Revenue | Nelspruit | Ess | Bus Hrs | Bronze | Standard | Cnr. Botha and Paul Kruger Avenue | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0