## Cover Sheet
PRICING SUBMISSION
SARS RFP NUMBER | RFP 05/2020
RFP NAME | SARS ICT Facilities RFP 05/2020
REGION | REGION 2 - Northern Cape, Western Cape, Eastern Cape, Free State,
BIDDER NAME | COMPANY XYZ
Region
Region 2 - Western and Northern Cape Provinces
Region 3 - North West and Free State Provinces
Region 4 - Eastern Cape and Kwa-Zulu Natal Provinces
Region 5 - Mpumalanga and Limpopo Provinces

## Instructions
General Instructions for Completing the Pricing Input Templates
1 | General
1.1 | Pricing Proposal Submission Format
1.1.1 | Bidders must submit both a paper copy and an electronic copy of the Pricing Submission. Submissions that are not accompanied by both copies will not be considered. In the event of a discrepancy, the paper copy will prevail.
1.1.2 | Bidders submitting Proposals for more than one Region are required to submit their Proposals for each Region separately. The financial section of the Proposal for a Region must contain the completed spreadsheet RFP05/2020 Pricing Response Template - Region x.
1.2 | Pricing Input Spreadsheets
1.2.1 | All the Pricing templates for a Region are contained within this Excel spreadsheet.
1.2.2 | The spreadsheet contains tabs for the worksheets in which the financial templates are located. Bidders are requested to look at the tab marked 'Index' for further explanation of the content of the worksheets.
1.2.3 | Cells are formatted to automatically indicate South African Rand, ordinary text fields and percentage (%) where applicable.
1.2.4 | Total Costs at the bottom of the Templates are formula driven. Totals will be calculated automatically in the total fields and Bidder should not attempt to input values to these fields.
1.2.5 | Input cells are highlighted in light green. The Bidder must complete all input cells. No other cells must be changed
1.2.6 | Other than set out above in 1.2.5, Bidders must not make any changes to the spreadsheets, Pricing Templates or change the formatting of the Templates
2 | Pricing Conditions
2.1 | Bidder’s pricing must not be subject to any notes, conditions, assumptions or other pricing re-openers either made in the pricing templates or any other part of the Bidder’s Proposal.
2.2 | Bidder’s Proposal pricing submission must be firm, not indicative.
2.3 | Bidders’ pricing must be quoted in South African Rands (ZAR).
2.4 | Bidder’s pricing must be inclusive of all duties, taxes and all applicable levies.
2.5 | Bidders must complete the templates with unit prices including VAT.
3 | Adjustments
3.1 | The pricing required in the financial templates is to be fixed until each anniversary at which time prices will be adjusted for CPI based on the Sensitivity Percentage in Sheet T4.
3.2 | On each anniversary thereafter, the pricing of the successful Bidder will be adjusted for (CPI from the Previous Month on the anniversary) based on the sensitivities provided by the Bidder in Sheet T4. For details of this calculation see RFP05/2020 ICT Facilities Services Agreement
3.3 | No adjustments will be made for foreign currency fluctuations.
4 | Transition Charges
4.1 | Bidder’s price for performing all the Transition Deliverables during the Transition Phase should be indicated separately in Template 1 and as more fully described in RFP05/2020 ICT Facilities Services Agreement
4.2 | During Transition Maintenance Services can be requested on a Time and Material basis
4.3 | During Transition Break-fix Services will be charged based on the rates supplied in Template 1.
5 | Project Pricing
5.1 | Personnel components of projects undertaken by the successful Bidder during the terrn will be priced at an comparable or better rate contained in Template 3. ICT Facilities Infrastructure will be procured on a Pass Through Expenses Basis as defined in the RFP05/2020 ICT Facilities Services Agreement.
6 | Material Pricing
6.1 | The Mark-up percentage specified in Template 3 is the maximum percentage that the Bidder may add to the original cost of the materials, to the Bidder, to determine the charge for materials to SARS. Bidder must note that this only applies for Maintenance and Incident resolution purposes only spares and parts and replacement units. See RFP05/2020 ICT Facilities Services Agreement
7 | Cost Break Down Quarterly Maintenance Rates
7.1 | Bidders should provide a break of the Quartely Maintenance as instructed on Template 4
7.2 | Bidders are required to provide a price break down of the Quartely Maintenance on Template 2
7.3 | Cost Element breakdown - List all major cost components that make up the Quartely Maintenance in Template 2
7.4 | All quoted amounts MUST be all inclusive.
8 | Travel Charges
8.1 | Bidders are required to quote a fixed rate per km (i.e It should align to Government AA rate as published by Department of Transport).
8.2 | Bidder will be allowed Overnight where the distance travelled is more than 300km to a SARS site single trip; this cost will only apply for Break-fix callouts.
9 | Quarterly Maintenance
9.1 | Quarterly Maintenance for Standby Power Equipment (UPS) and Air Conditioners requires 3 X Minor Services and 1 X Major Service per year
9.2 | Quarterly Maintenance for Fire Protection requires 4 X Major Services per year
10 | Annual Maintenance
10.1 | Annual Maintenance for Generators and Electrical Distribution requires 1 X Major Service per year

## Index
SARS RFP Number | RFP 05/2020
RFP Name | SARS ICT Facilities RFP 05/2020
Bidder Name | COMPANY XYZ
Region Name | REGION 2 - Northern Cape, Western Cape, Eastern Cape, Free State,
Template Name | Index to Pricing Templates
Spreadsheet Tab Name | Index
Legal Contract Reference | Template Name | Description | Tab Name | Tab Colour
Appendix | Template 1 | Transition Charges | T1 | Green
Appendix | Template 2.1 | Final Mode of Operation Charges - Quarterly Maintenance and Break & Fix | T2.1 | Green
Appendix | Template 2.2 | Final Mode of Operation Charges - Annual Maintenance | T2.2 | Green
Appendix | Template 2.3 | Final Mode of Operation Charges - Break Fix | T2.3 | Green
Appendix | Template 3 | Personnel and Material Rates | T3 | Green
Appendix | Template 4 | Pricing Adjustment | T4 | Green
Appendix | Template 5 | Site List | T5 | Green

## T1
SARS RFP Number | RFP 05/2020
RFP Name | SARS ICT Facilities RFP 05/2020
Bidder Name | COMPANY XYZ
Region Name | REGION 2 - Northern Cape, Western Cape, Eastern Cape, Free State,
Template Name | Template 1 - Transition Charges
Spreadsheet Tab Name | T1
Back to Index
Transition Charge (see Instructions) |  |  | Transition price (Incl VAT)
Fixed Travel Charge |  |  | Fixed Per Rate KM Charge per Request (Incl VAT)
Transition Break-fix Charges
Equipment Categories | Item type | Basis for charge | Event Break-fix Charge (incl VAT)
Standby Power Equipment (UPS) | 3-50KVA | Maintenance Rate per unit (exl. parts)
| 60-140KVA | Maintenance Rate per unit (exl. parts)
| 160-500KVA | Maintenance Rate per unit (exl. parts)
Air- Conditioners | Window/High-wall/Cassette/Hide-away/Under-ceiling Units | Maintenance Rate per unit (exl. parts)
| Chilled Water Down Blow Units | Maintenance Rate per unit (exl. parts)
| Direct Expansion Down Blow Units | Maintenance Rate per unit (exl. parts)
| Chiller Plants (including pumps) | Maintenance Rate per unit (exl. parts)
Fire Protection | Fire Control system | Maintenance Rate per unit (exl. parts)
| Centralised Gas system | Maintenance Rate per unit (exl. parts)
| Fire Extinguishers | Maintenance Rate per unit (exl. parts)
Generators | 1650-1850KVA | Maintenance Rate per unit (exl. parts)
| 3-50KVA | Maintenance Rate per unit (exl. parts)
Electrical Distribution | Server Rooms (incl. patch rooms) | Maintenance Rate per unit (exl. parts)
| Specialised Server Rooms (Data Centres and Contact Centres) | Maintenance Rate per unit (exl. parts)
| MLV (Medium to Low Voltage) & Plant Rooms | Maintenance Rate per unit (exl. parts)
Environmental | Monitoring system | Maintenance Rate per unit (exl. parts)
Access Control | Access Biometric or Card | Maintenance Rate per unit (exl. parts)
| Access Lock & Key | Maintenance Rate per unit (exl. parts)
Summary of Equipment Units for Region 2
Equipment Categories | Item type |  | Units - Support Level / Service Coverage
|  |  | Bronze |  | Silver |  | Gold
|  |  | Basic | Standard | Basic | Standard | Basic | Standard | Total
Standby Power Equipment (UPS) | 3-50KVA |  | 58 | 0 | 0 | 13 | 0 | 12 | 83
| 60-140KVA |  | 0 | 0 | 0 | 1 | 0 | 0 | 1
| 160-500KVA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  | 58 | 0 | 0 | 14 | 0 | 12 | 84
Air- Conditioners | Window/High-wall/Cassette/Hide-away/Under-ceiling Units |  | 72 | 0 | 0 | 26 | 0 | 11 | 109
| Chilled Water Down Blow Units |  | 0 | 0 | 0 | 2 | 0 | 0 | 2
| Direct Expansion Down Blow Units |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Chiller Plants (including pumps) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  | 72 | 0 | 0 | 28 | 0 | 11 | 111
Fire Protection | Fire Control system |  | 29 | 0 | 0 | 15 | 0 | 6 | 50
| Centralised Gas system |  | 4 | 0 | 0 | 4 | 0 | 0 | 8
| Fire Extinguishers |  | 92 | 0 | 0 | 32 | 0 | 10 | 134
| Total |  | 125 | 0 | 0 | 51 | 0 | 16 | 192
Generators | 1650-1850KVA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3-50KVA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electrical Distribution | Server Rooms (incl. patch rooms) |  | 47 | 0 | 0 | 25 | 0 | 11 | 83
| Specialised Server Rooms (Data Centres and Contact Centres) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MLV (Medium to Low Voltage) & Plant Rooms |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  | 47 | 0 | 0 | 25 | 0 | 11 | 83
Environmental | Monitoring system |  | 34 | 0 | 0 | 9 | 0 | 11 | 54
| Total |  | 34 | 0 | 0 | 9 | 0 | 11 | 54
Access Control | Access Biometric or Card |  | 38 | 0 | 0 | 22 | 0 | 11 | 71
| Access Lock & Key |  | 3 | 0 | 0 | 1 | 0 | 0 | 4
| Total |  | 41 | 0 | 0 | 23 | 0 | 11 | 75
| Grand Total |  | 377 | 0 | 0 | 150 | 0 | 72 | 599

## T2 .1 Quarterly Maintenance
SARS RFP Number | RFP 05/2020
RFP Name | SARS ICT Facilities RFP 05/2020
Bidder Name | COMPANY XYZ
Region Name | REGION 2 - Northern Cape, Western Cape, Eastern Cape, Free State,
Template Name | Template 2.1 - Final Mode of Operation Charges - Quartely Maintenance
Spreadsheet Tab Name | T2.1
1.) Maintenance Rates
Maintenance Rate (Incl VAT)
Maintenance Type / Maintenance Windows
|  |  | Minor Service X 3 Per Year |  | Major Service X 1 Per Year
Equipment Categories | Item type | Basis for charge | Bus Hrs | After Hrs | Bus Hrs | After Hrs
Standby Power Equipment (UPS) | 3-50KVA | Maintenance Rate per unit (exl. parts)
| 60-140KVA | Maintenance Rate per unit (exl. parts)
| 160-500KVA | Maintenance Rate per unit (exl. parts)
|  |  | 0 | 0 | 0 | 0
Air- Conditioners | Window/High-wall/Cassette/Hide-away/Under-ceiling Units | Maintenance Rate per unit (exl. parts)
| Chilled Water Down Blow Units | Maintenance Rate per unit (exl. parts)
| Direct Expansion Down Blow Units | Maintenance Rate per unit (exl. parts)
| Chiller Plants (including pumps) | Maintenance Rate per unit (exl. parts)
|  |  | 0 | 0 | 0 | 0
Fire Protection | Fire Control system | Maintenance Rate per unit (exl. parts) | N/A | N/A
| Centralised Gas system | Maintenance Rate per unit (exl. parts) | N/A | N/A
| Fire Extinguishers | Maintenance Rate per unit (exl. parts) | N/A | N/A
[5 empty] | 0 | 0
Summary of Equipment Units for Region 2
Equipment Categories | Item type |  | Business Hours | After Hours | Total
Standby Power Equipment (UPS) | 3-50KVA |  | 54 | 29 | 83
| 60-140KVA |  | 0 | 1 | 1
| 160-500KVA |  | 0 | 0 | 0
| Total |  | 54 | 30 | 84
Air- Conditioners | Window/High-wall/Cassette/Hide-away/Under-ceiling Units |  | 68 | 41 | 109
| Chilled Water Down Blow Units |  | 0 | 2 | 2
| Direct Expansion Down Blow Units |  | 0 | 0 | 0
| Chiller Plants (including pumps) |  | 0 | 0 | 0
| Total |  | 68 | 43 | 111
Fire Protection | Fire Control system |  | 26 | 24 | 50
| Centralised Gas system |  | 2 | 6 | 8
| Fire Extinguishers |  | 78 | 56 | 134
| Total |  | 106 | 86 | 192
| Grand Total |  | 228 | 159 | 387

## T2.2 Annual Maintenance
SARS RFP Number | RFP 05/2020
RFP Name | SARS ICT Facilities RFP 05/2020
Bidder Name | COMPANY XYZ
Region Name | REGION 2 - Northern Cape, Western Cape, Eastern Cape, Free State,
Template Name | Template 2.2 - Final Mode of Operation Charges - Annual Maintenance
Spreadsheet Tab Name | T2.2
1. Maintenance Rates
Maintenance Rate (Incl VAT)
Maintenance Type / Maintenance Windows
|  |  | Minor Service |  | Major Service
Equipment Categories | Item type | Basis for charge | Bus Hrs | After Hrs | Bus Hrs | After Hrs
Generators | 1650-1850KVA | Maintenance Rate per unit (exl. parts) | N/A | N/A
| 3-50KVA | Maintenance Rate per unit (exl. parts) | N/A | N/A
[5 empty] | 0 | 0
Electrical Distribution | Server Rooms (incl. patch rooms) | Maintenance Rate per unit (exl. parts) | N/A | N/A
| Specialised Server Rooms (Data Centres and Contact Centres) | Maintenance Rate per unit (exl. parts) | N/A | N/A
| MLV (Medium to Low Voltage) & Plant Rooms | Maintenance Rate per unit (exl. parts) | N/A | N/A
[5 empty] | 0 | 0
Summary of Equipment Units for Region 2
Equipment Categories | Item type |  | Business Hours | After Hours | Total
Generators | 1650-1850KVA |  | 0 | 0 | 0
| 3-50KVA |  | 0 | 0 | 0
| Total |  | 0 | 0 | 0
Electrical Distribution | Server Rooms (incl. patch rooms) |  | 46 | 37 | 83
| Specialised Server Rooms (Data Centres and Contact Centres) |  | 0 | 0 | 0
| MLV (Medium to Low Voltage) & Plant Rooms |  | 0 | 0 | 0
| Total |  | 46 | 37 | 83
| Grand Total |  | 46 | 37 | 83

## T2.3 Break Fix
SARS RFP Number | RFP
RFP Name | SARS ICT Facilities RFP
Bidder Name | COMPANY XYZ
Region Name | REGION 2 - Northern Cape, Western Cape, Eastern Cape, Free State,
Template Name | Template 2.3- Final Mode of Operation Charges - Break Fix
Spreadsheet Tab Name | T2.3
Break-fix
2. Break-fix labour rates and Break-fix travel surcharge
Equipment Categories | Item type | Basis for charge | Break-fix Rate (Incl VAT)
Support Level / Service Coverage Period (excl parts)
|  |  | Bronze |  | Silver |  | Gold
|  |  | Basic | Standard | Basic | Standard | Basic | Standard
Standby Power Equipment (UPS) | 3-50KVA | Labour Rate per unit (exl. parts)
| 60-140KVA | Labour Rate per unit (exl. parts)
| 160-500KVA | Labour Rate per unit (exl. parts)
|  |  | 0 | 0 | 0 | 0 | 0 | 0
Air- Conditioners | Window/High-wall/Cassette/Hide-away/Under-ceiling Units | Labour Rate per unit (exl. parts)
| Chilled Water Down Blow Units | Labour Rate per unit (exl. parts)
| Direct Expansion Down Blow Units | Labour Rate per unit (exl. parts)
| Chiller Plants (including pumps) | Labour Rate per unit (exl. parts)
|  |  | 0 | 0 | 0 | 0 | 0 | 0
Fire Protection | Fire Control system | Labour Rate per unit (exl. parts)
| Centralised Gas system | Labour Rate per unit (exl. parts)
| Fire Extinguishers | Labour Rate per unit (exl. parts)
|  |  | 0 | 0 | 0 | 0 | 0 | 0
Generators | 1650-1850KVA | Labour Rate per unit (exl. parts)
| 3-50KVA | Labour Rate per unit (exl. parts)
|  |  | 0 | 0 | 0 | 0 | 0 | 0
Electrical Distribution | Server Rooms (incl. patch rooms) | Labour Rate per unit (exl. parts)
| Specialised Server Rooms (Data Centres and Contact Centres) | Labour Rate per unit (exl. parts)
| MLV (Medium to Low Voltage) & Plant Rooms | Labour Rate per unit (exl. parts)
|  |  | 0 | 0 | 0 | 0 | 0 | 0
Environmental | Monitoring system | Labour Rate per unit (exl. parts)
|  |  | 0 | 0 | 0 | 0 | 0 | 0
Access Control | Access Biometric or Card | Labour Rate per unit (exl. parts)
| Access Lock & Key | Labour Rate per unit (exl. parts)
|  |  | 0 | 0 | 0 | 0 | 0 | 0
Break-fix Overnight Surcharge Distance Threshold |  |  | Distance
Overnight Surcharge Distance Threshold (Km) |  |  | 300
Overnight Surcharge |  |  | Amount (Incl. VAT
Overnight Surcharge (Incl VAT) (to be added to Distance Charge for a Site where Site Distance exceeds the Overnight Surcharge Distance Threshold
Summary of Equipment Units for Region 2
Equipment Categories | Item type |  | Units - Support Level / Service Coverage
|  |  | Bronze |  | Silver |  | Gold
|  |  | Basic | Standard | Basic | Standard | Basic | Standard | Total
Standby Power Equipment (UPS) | 3-50KVA |  | 58 | 0 | 0 | 13 | 0 | 12 | 83
| 60-140KVA |  | 0 | 0 | 0 | 1 | 0 | 0 | 1
| 160-500KVA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  | 58 | 0 | 0 | 14 | 0 | 12 | 84
Air- Conditioners | Window/High-wall/Cassette/Hide-away/Under-ceiling Units |  | 72 | 0 | 0 | 26 | 0 | 11 | 109
| Chilled Water Down Blow Units |  | 0 | 0 | 0 | 2 | 0 | 0 | 2
| Direct Expansion Down Blow Units |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Chiller Plants (including pumps) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  | 72 | 0 | 0 | 28 | 0 | 11 | 111
Fire Protection | Fire Control system |  | 29 | 0 | 0 | 15 | 0 | 6 | 50
| Centralised Gas system |  | 4 | 0 | 0 | 4 | 0 | 0 | 8
| Fire Extinguishers |  | 92 | 0 | 0 | 32 | 0 | 10 | 134
| Total |  | 125 | 0 | 0 | 51 | 0 | 16 | 192
Generators | 1650-1850KVA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3-50KVA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electrical Distribution | Server Rooms (incl. patch rooms) |  | 47 | 0 | 0 | 25 | 0 | 11 | 83
| Specialised Server Rooms (Data Centres and Contact Centres) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MLV (Medium to Low Voltage) & Plant Rooms |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  | 47 | 0 | 0 | 25 | 0 | 11 | 83
Environmental | Monitoring system |  | 34 | 0 | 0 | 9 | 0 | 11 | 54
| Total |  | 34 | 0 | 0 | 9 | 0 | 11 | 54
Access Control | Access Biometric or Card |  | 38 | 0 | 0 | 22 | 0 | 11 | 71
| Access Lock & Key |  | 3 | 0 | 0 | 1 | 0 | 0 | 4
| Total |  | 41 | 0 | 0 | 23 | 0 | 11 | 75
| Grand Total |  | 377 | 0 | 0 | 150 | 0 | 72 | 599

## T3
SARS RFP Number | RFP 05/2020
RFP Name | SARS ICT Facilities RFP 05/2020
Bidder Name | COMPANY XYZ
Region Name | REGION 2 - Northern Cape, Western Cape, Eastern Cape, Free State,
Template Name | Template 3 Personnel and Material Rates
Spreadsheet Tab Name | T3
Back to Index
T3.1 Material Rates Mark-up Percentage (see Instructions point 6)
Type | Percentage
Maintenance material
Project material (R0 - R10,000)
Project material (R10,001 - R50,000)
Project material (R50,001 - R250,000)
Project material (R250,001 - R500,000)
Project material (R500,001 - R1,000,000)
Project material (R1,000,000 +)
Diesel For Generators
Personnel Rates (see instructions point 5)
| Business Hours |  |  |  | After Hours |  | Saturday |  |  | Sun/Public Holidays
| Rate/hour (Incl VAT) |  |  |  | Rate/hour (Incl VAT) |  | Rate/hour (Incl VAT) |  |  | Rate/hour (Incl VAT)
Job description | Hourly | Daily | Monthly | Standby | Hourly | Standby | Hourly | Daily | Standby | Hourly | Daily | Standby
Air-conditioning Technician (At least NQF Level 4 qualification + 2 yrs. experience)
Air-conditioning Engineer (At least NQF Level 5 qualification + 5 yrs. experience)
Power and Electronic Technician (At least NQF Level 4 qualification + 2 yrs. experience)
Power and Electronic Engineer (At least NQF Level 5 qualification + 5 yrs. experience)
Electrical Technician (At least Electrical Trade Certificate + 2 yrs. experience)
Electrician (At least Registered Master Electrician / Installation Electrician + 5 yrs. experience)
Electrician (At least Registered Master Electrician / Installation Electrician with Heavy current HT + 5 yrs. experience)
Fire Protection Technician (At least Registered and approved by SAQCC - Fire + 2 yrs. experience)
Project Manager
Diesel Technician (At least NQF Level 4 qualification + 2 yrs. experience in Generator support)
Diesel Engineer(At least NQF Level 5 qualification + 5 yrs. experience in Generator support)
Draughtsperson
General Handyperson
Service Delivery Manager
General Handyperson

## T4
SARS RFP Number | RFP 05/2020
RFP Name | SARS ICT Facilities RFP 05/2020
Bidder Name | COMPANY XYZ
Region Name | REGION 2 - Northern Cape, Western Cape, Eastern Cape, Free State,
Template Name | Template 4 Pricing Adjustment and Quartely Maintenance Cost Break Down
Spreadsheet Tab Name | T4
Back to Index
1.)Pricing Adjustment
Inflation Sensitivity Factor
What % of rates quoted in Template 2.1 & 2.2 and Template 3 is affected by CPI? | 0%
2.) Cost Break Down Quarterly Maintenance Rates
1. Bidders are required to provide a percentage break down of the Quartely Maintenance on Template 2.1 and Annual Maintenance Template 2.2
2. Cost Element breakdown - List all major cost components that make up the Quartely Maintenance in Template 2.1 and Annual Maintenance in Template 2.2
3. All quoted amounts MUST be all inclusive.
EXAMPLE FOR TABLE 1 (Please note this example is for illustration purposes only). You need to indicate your cost drivers and how they can be measured (i.e. indices, legislated rate, etc.)
Cost Element Breakwon | Percentage Weighted Contribution
Wages/ Labour | 35%
Travel Costs | 35%
Other | 30%
100%
Template 4 Pricing Adjustment and Quarterly Maintenance Cost Break Down |  | Template 4 Pricing Adjustment and Annual Maintenance Cost Break Down
Quartely Maintenance |  | Annual Maintenance
Cost Element breakdown | Rate % | Cost Element breakdown | Rate %
Labour |  | Labour
Travel |  | Travel
Other |  | Other
| 0% |  | 0%

## T5
Site List Region 2
Quartely Maintenance Units Summary |  |  |  | Standby Power Equipment (UPS) |  |  | Air-Conditioners |  |  |  | Fire Protection |  |  | Envrionmental Monitoring | Access Control |  | Generators |  | Electrical Distribution |  |  | Total | Distance
Bus Hrs/ Aft Hrs | Site Name | Region | Province | 3-50KVA | 60-140KVA | 160-500KVA | Window/High-wall/Cassette/Hide-away/Under-ceiling Units | Chilled Water Down Blow Units | Direct Expansion Down Blow Units | Chiller Plants (including pumps) | Fire Control system | Centralised Gas system | Fire Extinguishers | Netbotz | Biometric | Lock & Key | 3 - 40 KVA | 1650-1850KVA | Server Rooms (incl. patch rooms) | Specialised Server Rooms (Data Centres and Contact Centres) | MLV (Medium to Low Voltage) & Plant Rooms | Total | KM (Distance from Maint Centre)
After Hours | Bellville Ptach rooms part of building | 2 | Western Cape | 2 | 0 | 0 | 7 | 0 | 0 | 0 | 2 | 2 | 2 | 2 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 23 | 30
| Bloemfontein Central Gov | 2 | Free State | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 1 | 4 | 1 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 14 | 0
| Cape Town - Plein Street | 2 | Western Cape | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 2
| Cape Town - Project 166 | 2 | Western Cape | 0 | 1 | 0 | 4 | 0 | 0 | 0 | 1 | 1 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 12 | 0
| Cape Town Cowrie Place | 2 | Western Cape | 2 | 0 | 0 | 3 | 0 | 0 | 0 | 2 | 0 | 2 | 1 | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 14 | 3
| Cape Town International - Airfreight | 2 | Western Cape | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 20
| Cape Town International - Arrivals | 2 | Western Cape | 7 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 7 | 6 | 0 | 0 | 0 | 6 | 0 | 0 | 31 | 20
| Cape Town Scanner | 2 | Western Cape | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 5
| East London - Waverly Building | 2 | Eastern Cape | 2 | 0 | 0 | 4 | 0 | 0 | 0 | 2 | 0 | 4 | 1 | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 17 | 0
| George | 2 | Western Cape | 2 | 0 | 0 | 2 | 2 | 0 | 0 | 1 | 1 | 4 | 1 | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 17 | 0
| Kimberley - Bean and Crossman | 2 | Northern Cape | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 1 | 6 | 1 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 19 | 180
| PE Forrest Hill K9 Unit | 2 | Eastern Cape | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 8 | 7
| Port Elizabeth - Harrower road | 2 | Eastern Cape | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 3
| Port Elizabeth - Sanlam Centre | 2 | Eastern Cape | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 1
| St Mary's Terrace | 2 | Eastern Cape | 2 | 0 | 0 | 4 | 0 | 0 | 0 | 8 | 0 | 16 | 1 | 7 | 0 | 0 | 0 | 8 | 0 | 0 | 46 | 0
| State Warehouse - Upington - Station | 2 | Northern Cape | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 8 | 3
| After Hours |  | Total | 29 | 1 | 0 | 41 | 2 | 0 | 0 | 24 | 6 | 56 | 22 | 33 | 0 | 0 | 0 | 37 | 0 | 0 | 251 | 274
Business Hours | Alexander Bay | 2 | Northern Cape | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 230
| Beaufort West | 2 | Western Cape | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 8 | 250
| Bethlehem | 2 | Free State | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 300
| Bloemfontein International | 2 | Free State | 2 | 0 | 0 | 1 | 0 | 0 | 0 |  | 0 | 2 | 1 | 1 | 1 | 0 | 0 | 2 | 0 | 0 | 10 | 20
| Bloemfontein Zastron | 2 | Free State | 3 | 0 | 0 | 4 | 0 | 0 | 0 | 1 | 0 | 2 | 2 | 6 | 0 | 0 | 0 | 7 | 0 | 0 | 25 | 5
| Caledonspoort | 2 | Free State | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 255
| Cape Town - Lower Long Street | 2 | Western Cape | 1 | 0 | 0 | 4 | 0 | 0 | 0 | 1 | 1 | 4 | 1 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 15 | 1
| Ficksburg Bridge | 2 | Free State | 3 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 11 | 220
| Kroonstad | 2 | Free State | 2 | 0 | 0 | 3 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 15 | 215
| Ladybrand DDU | 2 | Free State | 1 | 0 | 0 | 1 | 0 | 0 | 0 |  | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 7 | 150
| Maseru Bridge | 2 | Free State | 5 | 0 | 0 | 4 | 0 | 0 | 0 | 2 | 0 | 4 | 2 | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 21 | 140
| McCarthy's Rest | 2 | Northern Cape | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 406
| Mitchells plein | 2 | Western Cape | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 |  |  | 10 | 35
| Mthatha | 2 | Eastern Cape | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 14 | 230
| Nakop | 2 | Northern Cape | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 4 | 2 | 1 | 1 | 0 | 0 | 2 | 0 | 0 | 15 | 131
| Paarl | 2 | Western Cape | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 65
| Peka Bridge Border Post | 2 | Free State | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 205
| Port Elizabeth International | 2 | Eastern Cape | 1 | 0 | 0 | 2 | 0 | 0 | 0 |  | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 8 | 5
| Robertson | 2 | Western Cape | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 170
| State Warehouse - Cape Town | 2 | Western Cape | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 1
| Stellenbosch | 2 | Western Cape | 1 | 0 | 0 | 2 | 0 | 0 | 0 |  | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 8 | 55
| Twee Rivieren | 2 | Northern Cape | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 10 | 255
| Uitenhage | 2 | Eastern Cape | 2 | 0 | 0 | 3 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 15 | 40
| Upington Airport | 2 | Northern Cape | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 1 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 7
| Upington Anchorley | 2 | Northern Cape | 2 | 0 | 0 | 3 | 0 | 0 | 0 | 2 | 0 | 4 | 1 | 1 | 1 | 0 | 0 | 2 | 0 | 0 | 16 | 0
| Van Rooyenshek | 2 | Free State | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 135
| Vioolsdrift | 2 | Northern Cape | 3 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 11 | 120
| Welkom | 2 | Free State | 2 | 0 | 0 | 4 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 16 | 175
| Worcester | 2 | Western Cape | 2 | 0 | 0 | 3 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 14 | 120
| Business Hours |  | Total | 54 | 0 | 0 | 68 | 0 | 0 | 0 | 26 | 2 | 78 | 32 | 38 | 4 | 0 | 0 | 46 | 0 | 0 | 348 | 3941
Grand Total |  |  |  | 83 | 1 | 0 | 109 | 2 | 0 | 0 | 50 | 8 | 134 | 54 | 71 | 4 | 0 | 0 | 83 | 0 | 0 | 599 | 4215
Site List Region 2
Break Fix Units Summary |  |  |  | Standby Power Equipment (UPS) |  |  | Air-Conditioners |  |  |  | Fire Protection |  |  | Envrionmental Monitoring | Access Control |  | Generators |  | Electrical Distribution |  |  | Total | Distance
Support Lvl and Coverage | Site Name | Region | Province | 3-50KVA | 60-140KVA | 160-500KVA | Window/High-wall/Cassette/Hide-away/Under-ceiling Units | Chilled Water Down Blow Units | Direct Expansion Down Blow Units | Chiller Plants (including pumps) | Fire Control system | Centralised Gas system | Fire Extinguishers | Netbotz | Biometric | Lock & Key | 3 - 40 KVA | 1650-1850KVA | Server Rooms (incl. patch rooms) | Specialised Server Rooms (Data Centres and Contact Centres) | MLV (Medium to Low Voltage) & Plant Rooms | Total | KM (Distance from Maint Centre)
Bronze-Basic | Alexander Bay | 2 | Northern Cape | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 230
| Beaufort West | 2 | Western Cape | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 8 | 250
| Bethlehem | 2 | Free State | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 300
| Bloemfontein Central Gov | 2 | Free State | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 1 | 4 | 1 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 14 | 0
| Caledonspoort | 2 | Free State | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 255
| Cape Town - Lower Long Street | 2 | Western Cape | 1 | 0 | 0 | 4 | 0 | 0 | 0 | 1 | 1 | 4 | 1 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 15 | 1
| Ficksburg Bridge | 2 | Free State | 3 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 11 | 220
| Kimberley - Bean and Crossman | 2 | Northern Cape | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 1 | 6 | 1 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 19 | 180
| Kroonstad | 2 | Free State | 2 | 0 | 0 | 3 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 15 | 215
| Ladybrand DDU | 2 | Free State | 1 | 0 | 0 | 1 | 0 | 0 | 0 |  | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 7 | 150
| Maseru Bridge | 2 | Free State | 5 | 0 | 0 | 4 | 0 | 0 | 0 | 2 | 0 | 4 | 2 | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 21 | 140
| McCarthy's Rest | 2 | Northern Cape | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 406
| Mitchells plein | 2 | Western Cape | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 |  |  | 10 | 35
| Mthatha | 2 | Eastern Cape | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 14 | 230
| Nakop | 2 | Northern Cape | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 4 | 2 | 1 | 1 | 0 | 0 | 2 | 0 | 0 | 15 | 131
| Paarl | 2 | Western Cape | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 65
| PE Forrest Hill K9 Unit | 2 | Eastern Cape | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 8 | 7
| Peka Bridge Border Post | 2 | Free State | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 205
| Port Elizabeth - Harrower road | 2 | Eastern Cape | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 3
| Port Elizabeth - Sanlam Centre | 2 | Eastern Cape | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 13 | 1
| Port Elizabeth International | 2 | Eastern Cape | 1 | 0 | 0 | 2 | 0 | 0 | 0 |  | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 8 | 5
| Robertson | 2 | Western Cape | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 170
| State Warehouse - Cape Town | 2 | Western Cape | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 1
| State Warehouse - Upington - Station | 2 | Northern Cape | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 8 | 3
| Stellenbosch | 2 | Western Cape | 1 | 0 | 0 | 2 | 0 | 0 | 0 |  | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 8 | 55
| Twee Rivieren | 2 | Northern Cape | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 10 | 255
| Uitenhage | 2 | Eastern Cape | 2 | 0 | 0 | 3 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 15 | 40
| Upington Airport | 2 | Northern Cape | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 1 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 7
| Upington Anchorley | 2 | Northern Cape | 2 | 0 | 0 | 3 | 0 | 0 | 0 | 2 | 0 | 4 | 1 | 1 | 1 | 0 | 0 | 2 | 0 | 0 | 16 | 0
| Van Rooyenshek | 2 | Free State | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 135
| Vioolsdrift | 2 | Northern Cape | 3 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 11 | 120
| Welkom | 2 | Free State | 2 | 0 | 0 | 4 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 16 | 175
| Worcester | 2 | Western Cape | 2 | 0 | 0 | 3 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 14 | 120
| Bronze - Basic |  | Total | 58 | 0 | 0 | 72 | 0 | 0 | 0 | 29 | 4 | 92 | 34 | 38 | 3 | 0 | 0 | 47 | 0 | 0 | 377 | 4110
Gold-Standard | Cape Town - Plein Street | 2 | Western Cape | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 2
| Cape Town Cowrie Place | 2 | Western Cape | 2 | 0 | 0 | 3 | 0 | 0 | 0 | 2 | 0 | 2 | 1 | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 14 | 3
| Cape Town International - Airfreight | 2 | Western Cape | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 20
| Cape Town International - Arrivals | 2 | Western Cape | 7 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 7 | 6 | 0 | 0 | 0 | 6 | 0 | 0 | 31 | 20
| Cape Town Scanner | 2 | Western Cape | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 5
| Gold - Standard |  | Total | 12 | 0 | 0 | 11 | 0 | 0 | 0 | 6 | 0 | 10 | 11 | 11 | 0 | 0 | 0 | 11 | 0 | 0 | 72 | 50
Silver-Standard | Bellville Ptach rooms part of building | 2 | Western Cape | 2 | 0 | 0 | 7 | 0 | 0 | 0 | 2 | 2 | 2 | 2 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 23 | 30
| Bloemfontein International | 2 | Free State | 2 | 0 | 0 | 1 | 0 | 0 | 0 |  | 0 | 2 | 1 | 1 | 1 | 0 | 0 | 2 | 0 | 0 | 10 | 20
| Bloemfontein Zastron | 2 | Free State | 3 | 0 | 0 | 4 | 0 | 0 | 0 | 1 | 0 | 2 | 2 | 6 | 0 | 0 | 0 | 7 | 0 | 0 | 25 | 5
| Cape Town - Project 166 | 2 | Western Cape | 0 | 1 | 0 | 4 | 0 | 0 | 0 | 1 | 1 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 12 | 0
| East London - Waverly Building | 2 | Eastern Cape | 2 | 0 | 0 | 4 | 0 | 0 | 0 | 2 | 0 | 4 | 1 | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 17 | 0
| George | 2 | Western Cape | 2 | 0 | 0 | 2 | 2 | 0 | 0 | 1 | 1 | 4 | 1 | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 17 | 0
| St Mary's Terrace | 2 | Eastern Cape | 2 | 0 | 0 | 4 | 0 | 0 | 0 | 8 | 0 | 16 | 1 | 7 | 0 | 0 | 0 | 8 | 0 | 0 | 46 | 0
| Silver - Standard |  | Total | 13 | 1 | 0 | 26 | 2 | 0 | 0 | 15 | 4 | 32 | 9 | 22 | 1 | 0 | 0 | 25 | 0 | 0 | 150 | 55
|  |  | Grand Total | 83 | 1 | 0 | 109 | 2 | 0 | 0 | 50 | 8 | 134 | 54 | 71 | 4 | 0 | 0 | 83 | 0 | 0 | 599 | 4215